TOWN OF NEWBURGH

PLANNING BOARD

TECHNICAL REVIEW COMMENTS

PROJECT:				HURLBURT TWO LOT SUBDIVISION

PROJECT NO.:			17-9

PROJECT LOCATION:		SECTION 4, BLOCK 2, LOT 41.22

REVIEW DATE:			10 FEBRUARY 2017

MEETING DATE:			2 MARCH 2017

PROJECT REPRESENTATIVE:	TALCOTT ENGINEERING

- A proposed house is under construction on the parent parcel ( future Lot 1) Gerry Canfield and Mike Donnelly’s comments should be received regarding the subsurface sanitary sewer disposal and wells for the house under construction.

- Project lies on the municipal border of Orange County and Ulster County.  Submission to County Planning and the Town of Plattekill would be required.

- Highway Superintendent comments for all driveways should be received.

- Lot #2 Septic system identifies a 3 bedroom maximum house size.  House should be specifically labeled on the plans as such.

- Expansion area is very close to the property line.  Distance from its proposed expansion area and property line should be clearly labeled.  A rule requiring survey stake out of the expansion area is required if expansion is ever constructed.

Respectfully submitted,

McGoey, Hauser and Edsall

Consulting Engineers, D.P.C.

_________________________

Patrick J. Hines
Principal

PJH/kbw