TOWN OF NEWBURGH

PLANNING BOARD

REVIEW COMMENTS

PROJECT:				LANDS OF JIN KANJANAKIRITUMRONG

PROJECT NO.:			14-08

PROJECT LOCATION:		SECTION 6, BLOCK 2, LOT 3

PROJECT REPRESENTATIVE:	VINCENT J. DOCE ASSOCIATES
REVIEW DATE:			7 MAY 2014

MEETING DATE:			15 MAY 2014

- The project requires multiple variances for the proposed change of use in the IB Zone including the following:

  - lot area 40,000 feet required, 16,200 provided

  - lot width 150 feet required, 90 feet provided

  - side yard 50 feet required, 6 feet provided

  - both side yards 100 feet required, 45 feet provided

  - accessory structure 10 feet required, 1.7 feet provided

- The proposed personal service business does not appear in the IB Zone bulk tables.  Such uses are allowed in the B Zone.

- Topography on the site should be confirmed.  A drainage swale is depicted flowing against the topography identified.

- Proposed parking in front yard does not comply with design guidelines.

- Site development details will be required on future submission.

- If project is located in existing water district, connection to Town water system should be provided.

- Buffer requirements between the IB and the R3 Zone along the rear property line are required; a 75 foot buffer is depicted.

- Future submission should address site lighting.

Respectfully submitted,

McGoey, Hauser and Edsall

Consulting Engineers, D.P.C.

_________________________

Patrick J. Hines
Associate