TOWN OF NEWBURGH

PLANNING BOARD

REVIEW COMMENTS

PROJECT:	CRYSTAL RUN HEALTHCARE MEDICAL OFFICE BUILDING

PROJECT NO.:			13-18

PROJECT LOCATION:		SECTION 97, BLOCK 3, LOTS 6,7,8 & 28

SECTION 4, BLOCK 1, LOT 72.2 (NEW WINDSOR)

PROJECT REPRESENTATIVE:	LANC & TULLY/ DRAKE, LOEB, HELLER, KENNEDY, 							GOGERTY, GABA & RODD

REVIEW DATE:			15 DECEMBER 2013

MEETING DATE:			19 DECEMBER 2013

- Detailed SWPPP and Grading Plan must be provided For Clearing and Grading Application.   SWPPP submitted must take into consideration site being tributary to City of Newburgh Reservoir.

- Lot Line Change Plans must be modified to depict removal of all existing structures which would create zoning bulk requirement issues, including existing structures at the corner of Route 300 and Old Little Britain Road.

Respectfully submitted,

McGoey, Hauser and Edsall

Consulting Engineers, P.C.

_________________________

Patrick J. Hines, Associate