# TOWN OF NEWBURGH

PLANNING BOARD

## REVIEW COMMENTS

PROJECT NAME:	ELM FARM

PROJECT NO.:				00-9

PROJECT LOCATION:			39-1-12.44

PROJECT REPRESENTATIVE:	EUSTANCE & HOROWITZ

### REVIEW DATE:				31 OCTOBER 2012

MEETING DATE:				1 NOVEMBER 2012

- The applicant’s representatives have provided documentation from various outside agencies regarding status of their approvals.  Revised realty subdivision was requested by the Health Department.

- As the result of the Public Hearing comments, it is requested that the discharge from  proposed Black Gum Court to Wells Road to be continued in a closed pipe system connecting to drainage manhole 49 in order to eliminate the discharge along the property frontage identified as a concern at the Public Hearings.  Capacity of the ditch existing is questionable based on the amount of water directed to it from the stormwater collection system along the first 350 feet of roadway.

3.  It is requested that the applicant’s representative provide a certification that a stormwater 	 	 management plan previously prepared for the project is consistent with the NYSDEC 	 	policy regarding the use of prior design manuals based on previous preliminary approval 	granted to the project.

Respectfully submitted,

McGoey, Hauser & Edsall

Consulting Engineers, P.C.

Patrick J. Hines_____________

Patrick J. Hines

Associate